## Slide 1: Status of the Neutron Beam Axis Survey
A Laser Tracker Application at the Bonn Cyclotron
FTD Electronics & Applications Seminar
Dmitri Schaab
FTD

## Slide 2: Motivation – Cyclotron Irradiation Sites
[D. Sauerland et al., Status of the Bonn isochronous Cyclotron, https://jacow.org/ibic2023/papers/wep046.pdf]
Bonn isochronous cyclotron
  Typical projectiles: p, d,
  Ekin = 7..14 MeV/A

## Slide 3: Motivation – Cyclotron Irradiation Sites
Bonn isochronous cyclotron
  Typical projectiles: p, d,
  Ekin = 7..14 MeV/A
Proton irradiation site (C-way)
  High homogeneity
  Si detector radiation hardness
  12.3 MeV at DUT penetration depth (Si)

## Slide 4: Motivation – Cyclotron Irradiation Sites
Bonn isochronous cyclotron
  Typical projectiles: p, d,
  Ekin = 7..14 MeV/A
Proton irradiation site (C-way)
  High homogeneity
  Si detector radiation hardness
  12.3 MeV at DUT penetration depth (Si)
Neutron irradiation site (F-way)
  Stripping reaction deuteron on C-target
  Broad energy spectrum, ~8 MeV average
  High penetration depth
  Large beam spot ⌀ 3cm (aim) collimator

## Slide 5: Motivation – Cyclotron Irradiation Sites
Bonn isochronous cyclotron
  Typical projectiles: p, d,
  Ekin = 7..14 MeV/A
Proton irradiation site (C-way)
  High homogeneity
  Si detector radiation hardness
  12.3 MeV at DUT penetration depth (Si)
Neutron irradiation site (F-way)
  Stripping reaction deuteron on C-target
  Broad energy spectrum, ~8 MeV average
  High penetration depth
  Large beam spot ⌀ 3cm (aim) collimator
[D. Sauerland et al., Status of the Bonn isochronous Cyclotron https://jacow.org/ibic2023/papers/wep046.pdf]
1.24m

## Slide 6: Motivation – Neutron Irradiation
Radiation hardness
  Separation of …
    Total Ionizing Dose (TID) curable defects
    Non-Ionizing Energy Loss (NIEL) irreversible defects
  Large-area irradiation
    Full detector assemblies (instead chip-only)
Medicine and material physics
  Neutron radiography
  Test of new scintillating materials
NIEL dislocation of a Si nucleus which
itself causes further (cluster) damage
[N. Wermes, Radiation Damage in Silicon, Lecture at RADHARD School (Mini Workshop), presentation, Bonn, 2024]

## Slide 7: Neutron Measurement Site Survey – Questions and Goals
Initial situation
  Extraction point behind bending magnet
  Hole in wall at approx. beam direction
  Beam diagnostics p and d projectiles
Goals
  Determine beam axis
  Capture collimator
  Align collimator
  General documentation

## Slide 8: Neutron Measurement Site Survey – Questions and Goals
Initial situation
  Extraction point behind bending magnet
  Hole in wall at approx. beam direction
  Beam diagnostics p and d projectiles
Goals
  Determine beam axis
  Capture collimator
  Align collimator
  General documentation
Photogrammetrically generated mesh imported in Autodesk Inventor [photogrammetry program: Meshroom, mesh generated by: C. Wendel, import to Inventor and CAD models: M. Loepke, tracker model: Hexagon]

## Slide 9: Neutron Measurement Site – Problem Outline

## Slide 10: Neutron Measurement Site – Problem Outline

## Slide 11: Neutron Measurement Site – Problem Outline

## Slide 12: Survey – Tools and Approach
Particle beam
  n neutral
  p or d charged exploit scintillation effect

## Slide 13: Survey – Tools and Approach
[M. Loepke]
Chromox screen
Particle beam
  n neutral
  p or d charged exploit scintillation effect
Beam diagnostics tools
  Chromox screen
  Monitoring camera
  beam diagnostics software (ELSA)

## Slide 14: Survey – Tools and Approach
[https://en.daheng-imaging.com/uploadfile/ed/upload/image/20211116/1637043889904116.png]
Particle beam
  n neutral
  p or d charged exploit scintillation effect
Beam diagnostics tools
  Chromox screen
  Monitoring camera
  beam diagnostics software (ELSA)

## Slide 15: Survey – Tools and Approach
[Switka, Proft et al., doi: 10.18429/JACoW-IBIC2023-WEP046]
Particle beam
  n neutral
  p or d charged exploit scintillation effect
Beam diagnostics tools
  Chromox screen
  Monitoring camera
  beam diagnostics software (ELSA)

## Slide 16: Survey – Tools and Approach
[Switka, Proft et al., doi: 10.18429/JACoW-IBIC2023-WEP046]
Particle beam
  n neutral
  p or d charged exploit scintillation effect
Beam diagnostics tools
  Chromox screen
  Monitoring camera
  beam diagnostics software (ELSA)

## Slide 17: Survey – Tools and Approach

## Slide 18: Survey – Tools and Approach

## Slide 19: Survey – Tools and Approach
[Szybicki et al., https://doi.org/10.3390/s22176464]
(a) Laser tracker head (b) measurement principle
Particle beam
  n neutral
  p or d charged exploit scintillation effect
Beam diagnostics tools
  Chromox screen
  Monitoring camera
  beam diagnostics software (ELSA)
Surveying tools
  Laser tracker (incl. different probes)
  Screen holder
  Calibration screen

## Slide 20: Survey – Tools and Approach
[Szybicki et al., https://doi.org/10.3390/s22176464]
(a) Laser tracker head (b) measurement principle
Particle beam
  n neutral
  p or d charged exploit scintillation effect
Beam diagnostics tools
  Chromox screen
  Monitoring camera
  beam diagnostics software (ELSA)
Surveying tools
  Laser tracker (incl. different probes)
  Screen holder
  Calibration screen
ⓘ klick on image for video demonstration
T-Probe (max. distance 20m
min. distance 1.3m)
1.5“ reflector (max. distance 80m)

## Slide 21: Survey – Tools and Approach
Particle beam
  n neutral
  p or d charged exploit scintillation effect
Beam diagnostics tools
  Chromox screen
  Monitoring camera
  beam diagnostics software (ELSA)
Surveying tools
  Laser tracker (incl. different probes)
  Screen holder
  Calibration screen
ⓘ klick on image for video demonstration
Angular precision
Resolution 0.07 arc sec
Angular repeatability ± 7.5 μm + 3 μm/m
Angular accuracy ± 15 μm + 6 μm/m
Distance precision
Absolute Distance Meter (ADM)
  Resolution 0.1 μm
  Accuracy (MPE) ± 10 μm
Laser interferometer
  Accuracy (Wavelength Stabilisation) ± 0.2 ppm
  Resolution 0.3 μm
Atmospheric influence
  ± 1°C ~1ppm in distance
  ± 4 hPa ~1ppm in distance
Measurement uncertainty (stated)
Uxyz (MPE) = ± 15 μm + 6 μm/m (Maximum Permissible Error)

## Slide 22: Survey – Tools and Approach
Particle beam
  n neutral
  p or d charged exploit scintillation effect
Beam diagnostics tools
  Chromox screen
  Monitoring camera
  beam diagnostics software (ELSA)
Surveying tools
  Laser tracker (incl. different probes)
  Screen holder
  Calibration screen
Chromox screen
probe
drills
probe adaptor and probe
base plate
screen holder
unit

## Slide 23: Survey – Tools and Approach
Particle beam
  n neutral
  p or d charged exploit scintillation effect
Beam diagnostics tools
  Chromox screen
  Monitoring camera
  beam diagnostics software (ELSA)
Surveying tools
  Laser tracker (incl. different probes)
  Screen holder
  Calibration screen

## Slide 24: Survey – Tools and Approach

## Slide 25: Survey – Tools and Approach

## Slide 26: Survey – Tools and Approach

## Slide 27: Survey – Tools and Approach

## Slide 28: Survey – Tools and Approach

## Slide 29: Survey – Tools and Approach

## Slide 30: Survey – Tools and Approach

## Slide 31: Survey – Practice Setup
laser (test beam)
practise collimator
screen pos. 1
screen pos. 2
ⓘ klick on image for video demonstration

## Slide 32: Survey – Practice Setup
Polyworks Inspector
  Metrology software
  Fit basic geometry to measured data
  Derive geometry from existing objects
  Switch between defined coordinate systems
  Live displacement view to probe

## Slide 33: Survey – Practice Setup

## Slide 34: Survey – Practice Setup

## Slide 35: Survey – Practice Setup
Polyworks Inspector
  Metrology software
  Fit basic geometry to measured data
  Derive geometry from existing objects
  Switch between defined coordinate systems
  Live displacement view to probe

## Slide 36: Survey – Practice Setup
Polyworks Inspector
  Metrology software
  Fit basic geometry to measured data
  Derive geometry from existing objects
  Switch between defined coordinate systems
  Live displacement view to probe

## Slide 37: Survey – Practice Setup
Polyworks Inspector
  Metrology software
  Fit basic geometry to measured data
  Derive geometry from existing objects
  Switch between defined coordinate systems
  Live displacement view to probe
nominal probe
positions rel. to axis

## Slide 38: Survey – Practice Setup
laser (test beam)
practise collimator
screen pos. 1
screen pos. 2
laser tracker beam

## Slide 39: Survey – Practice Setup
laser (test beam)
practise collimator
screen pos. 1
screen pos. 2
laser tracker beam

## Slide 40: Survey – Practice Setup
linear stages
laser (test beam)
practise collimator
screen pos. 1
screen pos. 2
laser tracker beam

## Slide 41: Survey – Practice Setup
Polyworks Inspector
  Build/Inspect mode
    Real time displacement view
    automatic snapping to objects
    Objects can be
      Points
      Lines
      Planes
      …
ⓘ klick on image for video demonstration

## Slide 42: Survey – Practice Setup
Polyworks Inspector
  Build/Inspect mode
    Real time displacement view
    automatic snapping to objects
    Objects can be
      Points
      Lines
      Planes
      …

## Slide 43: Survey – Collimator Capture
Corset (P. Hänisch)
Movable support structure + table
(P. Hänisch)

## Slide 44: Survey – Collimator Capture
Check collinearity of drills
Capture reflector nest positions wrt.
  Drill axis
  End faces

## Slide 45: Summary
Neutron measurement site
  In preparation at Bonn cyclotron
  NIEL irradiaton of detector components
  Other applications – neutron radiography etc.)
Survey
  Goals
    Beamline
    Alignment of collimator
  Approach
    2 scintillating screen positions
    Beam diagnostics tool
    Laser tracker screen holder
    Capture collimator alignment
  Status
    All tools ready and working
    Collimator captured/surveyed
    Next: 2 screen measurement + alignment

## Slide 46: Remarks – Common Infrastructure & Collaboration of local groups
Opportunity to practice device usage
  Local application
  Reasonable complexity
  Includes different measurement approaches
Inter-collaboration of groups
  Zyklotron client role
    M. Loepke / D. Sauerland
  FTD common infrastructure
    Laser tracker
    Myself
      Development of measurement tools
      Development and implementation of survey approach
  ELSA supporter role
    D. Proft / M. Switka
      Beam diagnostics software
    P. Hänisch
      Collimator support structures